Water for Water Based Vehicles

and Water Suspensions

Electronic Industry Quality

Reverse Osmosis Purified DI Water

## Specifications

### Introduction

| UK Abrasives recognizes the importance of quality of water used for water based vehicles and diamond-water suspensions for quality assurance and production process control purposes. Our modern Reverse Osmosis DI water purification system is monitored on daily basis; instrument readings as well as maintenance activities are logged into a system performance journal. System maintenance service is sub-contracted to the Water Purification Experts, who originally designed and installed the system. |  |
| --- | --- |

### Controlled Parameters of the Water Quality

|  | Resistivity: | 18 megohms/cm |
| --- | --- | --- |
|  | Bacteria: | <5 cfu/100 ml |
|  | Particulates: | <100 per 100 ml@0.05 mm |
|  | TOC (Total Organic Carbon): | <10 ppb |
|  | Total Dissolved Solids: | <0.01 ppm |
|  | Total Solids: | <0.05 ppm |
|  | Total Silica: | < 10ppb |

Bulletin WIUKA\Water Quality Rev. 1  7.30.2002

3-2